# ZTE SH Pharos Lab Configuration Files
OPNFV
August 23, 2016
[index::doc]
# ZTE SH Lab Specification
[labdescription:zte-sh-lab-specification][labdescription::doc][labdescription:zte-sh-pharos-lab-configuration-files][labdescription:pharos-lab]
## Introduction
[labdescription:introduction] ZTE SH Pharos lab currently has three PODs available in Shanghai. Each POD has 5 servers, 3 controller nodes and 2 computer nodes. These PODs are dedicated for use by Production/CI. These PODs focus scenarios related with test projects, installer projects and performance enhancement projects, such as KVM, OVS, FDS, etc.
Scenarios planned are list here:
- os-nosdn-kvm-ha
- os-nosdn-kvm_ovs-ha
Scenarios are defined in Colorado Scenario Status
## Lab Resources
[labdescription:lab-resources]
|L|L|L|L|L|L|L|
POD Name & Project(s) & PTL(s) & Email(s) & POD Role & Status & Notes
POD1 & FUEL & Gregory Elkinbard & gelkinbard@mirantis.com & CI: latest & Active & Yardstick Funtest Doctor Parser
POD2 & FUEL & Gregory Elkinbard & gelkinbard@mirantis.com & CI: latest & Active & Qtip
POD3 & FUEL & Gregory Elkinbard & gelkinbard@mirantis.com & CI: latest & Active & NFV-KVM OVSNFV
POD1-3 wiki page
- POD1 jenkins slave
- POD2 jenkins slave
POD3 jenkins slave
## Acceptable Usage Policy
[labdescription:acceptable-usage-policy] Resources located in OPNFV ZTE SH lab shall only be used for CI, infra setup/configuration and troubleshooting purposes. No development work is allowed in these PODs.
## Remote Access Infrastructure
[labdescription:remote-access-infrastructure] ZTE SH lab provide the OpenVPN access for you.
## Remote Access Procedure
[labdescription:remote-access-procedure] Access to this environment can be granted by sending an e-mail to: yangyang1@zte.com.cn.
Subject: opnfv zte-pod[1-3] access.
The following information should be provided in the request:
Full name:
E\PYGZhy{}mail:
Organization:
Why is access needed:
How long is access needed:
What specific Host will be accessed:
What support is needed from zte admin:
Once access requirment is approved, the instructions for setting up VPN access will be send to you by mail.
## Lab Documentation
[labdescription:lab-documentation]
## Lab Topology
[labdescription:lab-topology]
All the PODs share the same Jump Host for only one public IP address is allocated for the pharos lab. Deploy servers are separated from Jump Host. Every 2 PODs share one Deploy Server.
Jump Host
|p0.095|p0.095|p0.095|p0.095|p0.095|p0.095|p0.095|p0.095|p0.095|p0.095|
Hostname & Vendor & Model & Serial Number & CPUs & Memory (GB) & Local Storage & 1GbE: NIC#/IP MAC/VLAN/Network & 10GbE: NIC#/IP MAC/VLAN/Network & Notes
Rabbit & HP & 5500 &
& X5647x2 & 24 & 250GB SAS 2 TB HDD & IF0: a0:36:9f:00:11:34/ 192.168.1.1/ native vlan/OA IF1: a0:36:9f:00:11:35/ 172.10.0.1/ vlan 103/Public 172.20.0.1/ vlan 113/Public 172.60.0.1/ vlan 163/Public 172.70.0.1/ vlan 173/Public IF2: a0.36:9:00:11:37/ 116.228.53.183/ native vlan/ Internet & &
# ZTE POD1 Specification
[pod1description:zte-pod1-specification][pod1description:pharos-pod][pod1description::doc]
## Introduction
[pod1description:introduction] POD1(means ZTE-POD1) uses Fuel as the installer and performs os-odl_l2-nofeature-ha CI latest verification. Currently, test projects such as Yardstick, Functest are performing daily CI tasks. Fueature projects such as Doctor, Parser will perform daily and verify CI tasks.
## Additional Requirements
[pod1description:additional-requirements]
## Server Specifications
[pod1description:server-specifications] Jump Host
POD1 share the same Jump Host in the lab.
Deploy server
|L|L|L|L|L|L|L|L|L|L|
Hostname & Vendor & Model & Serial Number & CPUs & Memory (GB) & Local Storage & 1GbE: NIC#/IP MAC/VLAN/Network & 10GbE: NIC#/IP MAC/VLAN/Network & Notes
Jellyfish & ZTE & R5300 & 277662500093 & E5-2620x2 & 128 & 600GB SAS 4 TB HDD & IF0: 74:4a:a4:00:91:b3/ 10.20.6.1/ native vlan/PXE IF1: 74:4a:a4:00:91:b4/ 10.20.7.1/ native vlan/PXE & &
Nodes/Servers
|L|L|L|L|L|L|L|L|L|L|L|
Hostname & Vendor & Model & Serial Number & CPUs & Memory (GB) & Local Storage & Lights-out network (IPMI): IP/MAC, U/P & 1GbE: NIC#/IP MAC/VLAN/Network & 10GbE: NIC#/IP MAC/VLAN/Network & Notes
node1 & ZTE & E9000 & 281498500141 & E5-2680x2 & 128 & 600GB HDD & 129.5.1.101 4c:09:b4:b2:59:84 zteroot/superuser & enp129s0f0: 4c:09:b4:b2:59:87 vlan 1/PXE vlan 101/management & enp2s0f0: 4c:09:b4:b1:de:38 vlan 1/ public vlan 103/ private enp132s0f0: 4c:09:b4:b1:de:3a vlan 102/ storage &
node2 & ZTE & E9000 & 281498500179 & E5-2680x2 & 128 & 600GB HDD & 129.5.1.22 4c:09:b4:b2:59:f9 zteroot/superuser & enp129s0f0: 4c:09:b4:b2:59:fc vlan 1/PXE vlan 101/management & enp2s0f0: 4c:09:b4:b1:de:40 vlan 1/ public vlan 103/ private enp132s0f0: 4c:09:b4:b1:de:42 vlan 102/ storage &
node3 & ZTE & E9000 & 281498500008 & E5-2680x2 & 128 & 600GB HDD & 129.5.1.3 4c:09:b4:b2:59:9f zteroot/superuser & enp129s0f0: 4c:09:b4:b2:59:a2 vlan 1/PXE vlan 101/management & enp2s0f0: 4c:09:b4:b1:de:1c vlan 1/ public vlan 103/ private enp132s0f0: 4c:09:b4:b1:de:1e vlan 102/ storage &
node4 & ZTE & E9000 & 281498500157 & E5-2680x2 & 128 & 600GB HDD & 129.5.1.4 4c:09:b4:b2:59:d5 zteroot/superuser & enp129s0f0: 4c:09:b4:b2:59:d8 vlan 1/PXE vlan 101/management & enp2s0f0: 4c:09:b4:b1:de:18 vlan 1/ public vlan 103/ private enp132s0f0: 4c:09:b4:b1:de:1a vlan 102/ storage &
node5 & ZTE & E9000 & 281498500119 & E5-2680x2 & 128 & 600GB HDD & 129.5.1.5 4c:09:b4:b2:59:72 zteroot/superuser & enp129s0f0: 4c:09:b4:b2:59:75 vlan 1/PXE vlan 101/management & enp2s0f0: 4c:09:b4:b1:de:48 vlan 1/ public vlan 103/ private enp132s0f0: 4c:09:b4:b1:de:4a vlan 102/ storage &
Subnet allocations
|L|L|L|L|L|
Network name & Address & Mask & Gateway & VLAN id
Public & 172.10.0.0 & 255.255.255.0 & 172.10.0.1 & untagged
Fuel Admin/PXE & 10.20.0.0 & 255.255.255.0 & 10.20.0.2 & native vlan 1
Fuel Mangement & 192.168.10.0 & 255.255.255.0 & & 101
Fuel Storage & 192.168.11.0 & 255.255.255.0 & & 102
## VPN Users
[pod1description:vpn-users]
|L|L|L|L|L|
Name & Email & Project & Role & Notes
& & & &
## Firewall Rules
[pod1description:firewall-rules]
|L|L|L|
Port(s) & Service & Note
1194(OpenVPN) & Jenkins &
## POD Topology
[pod1description:pod-topology]
# ZTE POD2 Specification
[pod2description:pharos-pod][pod2description::doc][pod2description:zte-pod2-specification]
## Introduction
[pod2description:introduction] POD2(means ZTE-POD2) uses Fuel as the installer and performs os-odl_l2-nofeature-ha CI latest verification. Qtip daily CI task will be migrated from POD1 to POD2. Qtip is also working on integration with Yardstick umbrella project.
## Additional Requirements
[pod2description:additional-requirements]
## Server Specifications
[pod2description:server-specifications] Jump Host
POD2 share the same Jump Host in the lab.
Deploy Server
POD2 share the same Deploy Server with POD1.
|L|L|L|L|L|L|L|L|L|L|
Hostname & Vendor & Model & Serial Number & CPUs & Memory (GB) & Local Storage & 1GbE: NIC#/IP MAC/VLAN/Network & 10GbE: NIC#/IP MAC/VLAN/Network & Notes
Jellyfish & ZTE & R5300 & 277662500093 & E5-2620x2 & 128 & 600GB SAS 4 TB HDD & IF0: 74:4a:a4:00:91:b3/ 10.20.6.1/ native vlan/PXE IF1: 74:4a:a4:00:91:b4/ 10.20.7.1/ native vlan/PXE & &
Compute Nodes
|L|L|L|L|L|L|L|L|L|L|L|
Hostname & Vendor & Model & Serial Number & CPUs & Memory (GB) & Local Storage & Lights-out network (IPMI): IP/MAC, U/P & 1GbE: NIC#/IP MAC/VLAN/Network & 10GbE: NIC#/IP MAC/VLAN/Network & Notes
node1 & ZTE & E9000 & 281498500141 & E5-2680x2 & 128 & 600GB HDD & 129.5.1.9 3c:da:2a:e8:01:ea zteroot/superuser & enp129s0f0: 3c:da:2a:e8:01:ed vlan 500/PXE vlan 501/management & enp2s0f0: 3c:da:2a:e9:02:dc vlan 500/ public vlan 503/ private enp132s0f0: 3c:da:2a:e9:02:de vlan 502/ storage &
node2 & ZTE & E9000 & 281498500179 & E5-2680x2 & 128 & 600GB HDD & 129.5.1.10 3c:da:2a:e8:02:49 zteroot/superuser & enp129s0f0: 3c:da:2a:e8:02:4c vlan 500/PXE vlan 501/management & enp2s0f0: 3c:da:2a:e9:02:d0 vlan 500/ public vlan 503/ private enp132s0f0: 3c:da:2a:e9:02:d2 vlan 502/ storage &
node3 & ZTE & E9000 & 281498500008 & E5-2680x2 & 128 & 600GB HDD & 129.5.1.11 3c:da:2a:e8:01:a4 zteroot/superuser & enp129s0f0: 3c:da:2a:e8:01:a7 vlan 500/PXE vlan 501/management & enp2s0f0: 3c:da:2a:e9:02:ec vlan 500/ public vlan 503/ private enp132s0f0: 3c:da:2a:e9:02:ee vlan 502/ storage &
node4 & ZTE & E9000 & 281498500157 & E5-2680x2 & 128 & 600GB HDD & 129.5.1.12 3c:da:2a:e8:01:c7 zteroot/superuser & enp129s0f0: 3c:da:2a:e8:01:ca vlan 500/PXE vlan 501/management & enp2s0f0: 3c:da:2a:e9:02:d4 vlan 500/ public vlan 503/ private enp132s0f0: 3c:da:2a:e9:02:d6 vlan 502/ storage &
node5 & ZTE & E9000 & 281498500119 & E5-2680x2 & 128 & 600GB HDD & 129.5.1.13 3c:da:2a:e8:01:b3 zteroot/superuser & enp129s0f0: 3c:da:2a:e8:01:b6 vlan 500/PXE vlan 501/management & enp2s0f0: 3c:da:2a:e9:02:ac vlan 500/ public vlan 503/ private enp132s0f0: 3c:da:2a:e9:02:ae vlan 502/ storage &
Subnet allocations
|L|L|L|L|L|
Network name & Address & Mask & Gateway & VLAN id
Public & 172.30.0.0 & 255.255.255.0 & 172.30.0.1 & Untagged
Fuel Admin & 10.20.1.0 & 255.255.255.0 & 10.20.1.1 & native vlan 500
Fuel Mangement & 192.168.30.0 & 255.255.255.0 & & 501
Fuel Storage & 192.168.31.0 & 255.255.255.0 & & 502
## VPN Users
[pod2description:vpn-users]
|L|L|L|L|L|
Name & Email & Project & Role & Notes
& & & &
## Firewall Rules
[pod2description:firewall-rules]
|L|L|L|
Port(s) & Service & Note
1194(OpenVPN) & Jenkins &
## POD Topology
[pod2description:pod-topology]
# ZTE SH POD3 Specification
[pod3description:pharos-pod][pod3description::doc][pod3description:zte-sh-pod3-specification]
## Introduction
[pod3description:introduction] POD3(means ZTE-POD3) uses Fuel as the installer and performs os-nosdn-kvm-ha CI latest verification. Feature projects like NFV-KVMV, OVSNFV will be run in this POD.
## Additional Requirements
[pod3description:additional-requirements]
## Server Specifications
[pod3description:server-specifications] Jump Host
POD3 share the same Jump Host in the lab.
Deploy Server
|L|L|L|L|L|L|L|L|L|L|
Hostname & Vendor & Model & Serial Number & CPUs & Memory (GB) & Local Storage & 1GbE: NIC#/IP MAC/VLAN/Network & 10GbE: NIC#/IP MAC/VLAN/Network & Notes
Spider & ZTE & R5300 & 210077307607 & E5-2609x1 & 32 & 600GB SAS 1.2TB SCSI & IF0: 74:4a:a4:00:21:0b/ 10.20.0.1/ native vlan/PXE IF1: 74:4a:a4:00:21:0c/ 10.20.1.1/ native vlan/PXE & &
Compute Nodes
|L|L|L|L|L|L|L|L|L|L|L|
Hostname & Vendor & Model & Serial Number & CPUs & Memory (GB) & Local Storage & Lights-out network (IPMI): IP/MAC, U/P & 1GbE: NIC#/IP MAC/VLAN/Network & 10GbE: NIC#/IP MAC/VLAN/Network & Notes
node1 & ZTE & E9000 & 289016500203 & E5-2670x2 & 64 & 600GB HDD & 192.168.1.32 0c:12:62:e4:bf:de zteroot/superuser & & enp2s0f0: 74:4a:a4:00:0b:85 vlan 100/ Admin(PXE) enp2s0f1: 74:4a:a4:00:0b:86 vlan 101/ mgmt enp132s0f0: 74:4a:a4:00:0b:87 vlan 102/ storage enp132s0f1: 74:4a:a4:00:0b:88 vlan 103/ public vlan 1020/ private &
node2 & ZTE & E9000 & 289016500197 & E5-2670x2 & 64 & 600GB HDD & 192.168.1.33 0C:12:62:E4:C0:33 zteroot/superuser & & enp2s0f0: 74:4a:a4:00:5c:5d vlan 100/ Admin(PXE) enp2s0f1: 74:4a:a4:00:5c:5e vlan 101/ mgmt enp132s0f0: 74:4a:a4:00:5c:5f vlan 102/ storage enp132s0f1: 74:4a:a4:00:5c:60 vlan 103/ public vlan 1020/ private &
node3 & ZTE & E9000 & 289016500003 & E5-2670x2 & 64 & 600GB HDD & 192.168.1.34 74:4A:A4:00:30:93 zteroot/superuser & & enp2s0f0: 74:4a:a4:00:5c:35 vlan 100/ Admin(PXE) enp2s0f1: 74:4a:a4:00:5c:36 vlan 101/ mgmt enp132s0f0: 74:4a:a4:00:5c:37 vlan 102/ storage enp132s0f1: 74:4a:a4:00:5c:38 vlan 103/ public vlan 1020/ private &
node4 & ZTE & E9000 & 289016500105 & E5-2670x2 & 64 & 600GB HDD & 192.168.1.35 0C:12:62:E4:C0:42 zteroot/superuser & & enp2s0f0: 74:4a:a4:00:5c:69 vlan 100/ Admin(PXE) enp2s0f1: 74:4a:a4:00:5c:6a vlan 101/ mgmt enp132s0f0: 74:4a:a4:00:5c:6b vlan 102/ storage enp132s0f1: 74:4a:a4:00:5c:6c vlan 103/ public vlan 1020/ private &
node5 & ZTE & E9000 & 289016500195 & E5-2670x2 & 64 & 600GB HDD & 192.168.1.36 74:4A:A4:00:30:43 zteroot/superuser & & enp2s0f0: 74:4a:a4:00:5c:6d vlan 100/ Admin(PXE) enp2s0f1: 74:4a:a4:00:5c:6e vlan 101/ mgmt enp132s0f0: 74:4a:a4:00:5c:6f vlan 102/ storage enp132s0f1: 74:4a:a4:00:5c:70 vlan 103/ public vlan 1020/ private &
Subnet allocations
|L|L|L|L|L|
Network name & Address & Mask & Gateway & VLAN id
Public & 172.10.0.0 & 255.255.255.0 & 172.10.0.1 & 103
Fuel Admin/PXE & 10.20.0.0 & 255.255.255.0 & 10.20.0.1 & native valn 100
Fuel Mangement & 192.168.11.0 & 255.255.255.0 & & 101
Fuel Storage & 192.168.12.0 & 255.255.255.0 & & 102
## VPN Users
[pod3description:vpn-users]
|L|L|L|L|L|
Name & Email & Project & Role & Notes
& & & &
## Firewall Rules
[pod3description:firewall-rules]
|L|L|L|
Port(s) & Service & Note
5000(OpenVPN) & Jenkins &
## POD Topology
[pod3description:pod-topology]